## Sheet1
2235 | 3010 | 2236 | 2237 | 2238 | 2239 | 2240 | 2242
Calibration Field | Other Calibration Field/ Quantity/ Property | Measurand | Measuring Range | CMC | Calibration Method | Permanent lab | Sites
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Current | (0 to 100) µA | 0.03 µA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Current | (0.1 to 0.3) mA | 0.08 µA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Current | (> 0.3 – 3) mA | 5.8 µA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Current | (> 3 – 30) mA | 6.8 µA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Current | (> 30 – 300) mA | 39 µA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Current | (> 0.3 – 3) A | 5.9 mA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Current | (> 3 – 10) A | 8.6 mA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Current | (> 10 – 20) A | 26 mA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Current | (>20 to 50) A | 0.37 A | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Current | >20 to 60) A | 0.42 A | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Current | (>50 to 100) A | 0.37 A | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Current | (>100 to 250) A | 0.84 A | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Current | (>250 to 500) A | 1.6 A | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Current | (>500 to 750) A | 2.4 A | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Current | (>750 to 1000) A | 5.0 A | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (29 to 100) µA | (10 Hz to 30) kHz | 1.5 µA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (100 to 330) µA | (10 to 20) Hz | 0.88 µA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (100 to 330) µA | (>20 to 45) Hz | 0.69 µA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (100 to 330) µA | >45 Hz to 1 kHz | 0.59 µA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (100 to 330) µA | (>1 to 5) kHz | 1.3 µA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (100 to 330) µA | (>5 to 10) kHz | 3.3 µA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (100 to 330) µA | (>10 to 30) kHz | 6.6 µA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 0.33 to 3.3) mA | (10 to 20) Hz | 9.7 µA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 0.33 to 3.3) mA | (>20 to 45) Hz | 7.5 µA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 0.33 to 3.3) mA | >45 Hz to 1 kHz | 7.0 µA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 0.33 to 3.3) mA | (>1 to 5) kHz | 9.8 µA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 0.33 to 3.3) mA | (>5 to 10) kHz | 20 µA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 0.33 to 3.3) mA | (>10 to 30) kHz | 40 µA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 3.3 to 33) mA | (10 to 20) Hz | 0.07 mA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 3.3 to 33) mA | (>20 to 45) Hz | 0.04 mA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 3.3 to 33) mA | >45 Hz to 1 kHz | 0.02 mA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 3.3 to 33) mA | (>1 to 5) kHz | 0.03 mA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 3.3 to 33) mA | (>5 to 10) kHz | 0.08 mA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 3.3 to 33) mA | (>10 to 30) kHz | 0.16 mA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 33 to 330) mA | (10 to 20) Hz | 0.72 mA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 33 to 330) mA | (>20 to 45) Hz | 0.38 mA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 33 to 330) mA | >45 Hz to 1 kHz | 0.20 mA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 33 to 330) mA | (>1 to 5) kHz | 0.45 mA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 33 to 330) mA | (5 to 10) kHz | 0.90 mA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 0.33 to 1.1) A | (10 to 45) Hz | 12 mA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 0.33 to 1.1) A | (>45 Hz to 1 kHz | 6.0 mA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 0.33 to 1.1) A | (>1 to 5) kHz | 10 mA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 0.33 to 1.1) A | (>5 to 10) kHz | 37 mA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 1.1 to 3) A | 45 Hz to 1 kHz | 6.2 mA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 1.1 to 3) A | (>1 to 5) kHz | 23 mA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 3 to 11) A | (45 to 100) Hz | 14 mA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 3 to 11) A | >100 Hz to 1) kHz | 18 mA | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 3 to 11) A | (>1 to 5 kHz | 0.38 A | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 11 to 20) A | (45 to 100) Hz | 0.04 A | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 11 to 20) A | >100 Hz to 1 kHz | 0.04 A | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 11 to 20) A | (>1 to 5) kHz | 0.70 A | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current @ 50 Hz | (20 to 50) A | 0.29 A | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current @ 50 Hz | (>50 to 100) A | 0.46 A | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current @ 50 Hz | (>100 to 250) A | 0.99 A | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current @ 50 Hz | (>250 to 500) A | 1.9 A | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current @ 50 Hz | (>500 to 750) A | 2.8 A | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current @ 50 Hz | (>750 to 1000) A | 5.0 A | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Voltage | (0 to 10) mV | 2.7 µV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Voltage | (10 to 300) mV | 8.7 µV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Voltage | (> 0.3 – 3) V | 0.05 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Voltage | (> 3 – 30) V | 0.49 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Voltage | (> 30 – 300) V | 7.0 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Voltage | (> 300 – 1000) V | 24 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Voltage | 1 kV to 25 kV | 0.61 kV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (1 to 10) mV | 10 Hz to 500 kHz | 0.12 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (10 to 33) mV | (10 to 45) Hz | 0.07 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (10 to 33) mV | >45 Hz to 10 kHz | 0.02 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (10 to 33) mV | (>10 to 20) kHz | 0.03 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (10 to 33) mV | (>20 to 50) kHz | 0.08 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (10 to 33) mV | (>50 to 100) kHz | 0.26 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (10 to 33) mV | (>100 to 500) kHz | 0.63 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (> 33 to 330) mV | (10 to 45) Hz | 0.22 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (> 33 to 330) mV | >45 Hz to 10 kHz | 0.11 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (> 33 to 330) mV | (>10 to 20) kHz | 0.12 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (> 33 to 330) mV | (>20 to 50) kHz | 0.25 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (> 33 to 330) mV | (>50 to 100) kHz | 0.60 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (> 33 to 330) mV | (>100 to 500) kHz | 1.5 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (> 0.33 to 3.3) V | (10 to 45) Hz | 2.1 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (> 0.33 to 3.3) V | >45 Hz to 10 kHz | 1.1 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (> 0.33 to 3.3) V | (>10 to 20) kHz | 1.4 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (> 0.33 to 3.3) V | (>20 to 50) kHz | 2.1 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (> 0.33 to 3.3) V | (>50 to 100) kHz | 4.9 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (> 3.3 to 33) V | 45 Hz to 10 kHz | 11 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (> 3.3 to 33) V | (>10 to 20) kHz | 17 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (> 3.3 to 33) V | (>20 to 50) kHz | 24 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (> 3.3 to 33) V | (>50 to 100) kHz | 63 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (> 33 to 330) V | 45 Hz to 1 kHz | 0.60 V | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (> 33 to 330) V | (>1 to 10) kHz | 0.15 V | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (> 330 to 1000) V | 45 Hz to 1 kHz | 0.63 V | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (> 330 to 1000) V | (>1 to 5) kHz | 0.53 V | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (> 330 to 1000) V | (>5 to 10) kHz | 0.63 V | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Voltage (1 kV to 10 kV) | 50 Hz | 0.25 kV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Low Resistance | 100 µΩ | 0.59 µΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Low Resistance | 1 mΩ | 0.84 µΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Low Resistance | 10 mΩ to 200 Ω | 0.1 % rdg | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (0 to 1) Ω | 7.9 mΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (1 to < 11) Ω | 2.6 mΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (11 to < 33) Ω | 3.0 mΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (33 to < 110) Ω | 5.0 mΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (110 to < 330) Ω | 14 mΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (0.33 to < 1.1) kΩ | 0.05 Ω | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (1.1 to < 3.3) kΩ | 0.12 Ω | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (3.3 to < 11) kΩ | 0.39 Ω | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (11 to < 33) kΩ | 1.3 Ω | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (33 to < 110) kΩ | 3.8 Ω | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (110 to < 330) kΩ | 15 Ω | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (0.33 to < 1.1) MΩ | 46 Ω | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (1.1 to < 3.3) MΩ | 0.29 kΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (3.3 to < 11) MΩ | 1.7 kΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (11 to < 33) MΩ | 12 kΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (33 to < 110) MΩ | 69 kΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (110 to < 330) MΩ | 1.2 MΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (0.33 to 1) GΩ | 19 MΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Capacitance | 1 pF to 1 nF | 0.7 % rdg | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Capacitance | 220 pF to 0.5 nF | 0.026 nF | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Capacitance | (0.5 – 10) nF | 0.04 nF | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Capacitance | (> 10 – 100) nF | 0.41 nF | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Capacitance | (> 0.1 – 1) µF | 7.0 nF | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Capacitance | (> 1 – 10) µF | 0.04 µF | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Capacitance | (> 10 – 100) µF | 0.66 µF | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Capacitance | (> 0.1 – 1) mF | 8.0 µF | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Capacitance | (> 1 – 10) mF | 0.06 mF | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Capacitance | (> 10 – 100) mF | 1.5 mF | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Inductance | 1 mH to 10 H | 2.4 % rdg | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Frequency | (1 – 120) Hz | 1 mHz | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Frequency | (> 0.12 - 1.2) kHz | 0.06 Hz | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Frequency | (> 1.2 – 12) kHz | 0.07 Hz | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Frequency | (> 12 – 120) kHz | 0.36 Hz | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Frequency | (> 0.12 - 1.2) MHz | 0.06 kHz | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Frequency | (> 1.2 – 2) MHz | 0.06 kHz | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Frequency | (>2 - 500) MHz | 2.3 kHz | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Power Volt: (1 V up to 1 kV), Current: (0.1 mA up to 20 A) | (1 – 330) W | 0.19 W | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Power Volt: (1 V up to 1 kV), Current: (0.1 mA up to 20 A) | (> 0.33 – 3) kW | 1.9 W | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Power Volt: (1 V up to 1 kV), Current: (0.1 mA up to 20 A) | (> 3 – 20) kW | 30 W | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Power | (20 - 1000) kW | 0.88 % rdg | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Power Volt: (1 V up to 1 kV), Current: (0.1 mA up to 20 A), Frequency: (1 kHz) | (1 – 330) W | 2.7 W | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Power Volt: (1 V up to 1 kV), Current: (0.1 mA up to 20 A), Frequency: (1 kHz) | (> 0.33 – 3) kW | 0.05 kW | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Power Volt: (1 V up to 1 kV), Current: (0.1 mA up to 20 A), Frequency: (1 kHz) | (> 3 – 20) kW | 0.9 kW | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Power (Frequency: 45 to 65 Hz) | (20 - 1000) kW | 2.6 % rdg | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Phase Angle | 0 to 90 ° | 0.4 ° | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Oscilloscope DC VOLTS = 5 V @ 50 Ω | (1 – 10) mV | 0.08 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Oscilloscope DC VOLTS = 5 V @ 50 Ω | (> 10 – 100) mV | 0.34 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Oscilloscope DC VOLTS = 5 V @ 50 Ω | (> 100 – 500) mV | 1.5 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Oscilloscope DC VOLTS = 5 V @ 50 Ω | (> 0.5 – 1) V | 2.9 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Oscilloscope DC VOLTS = 5 V @ 50 Ω | (> 1 – 2) V | 5.9 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Oscilloscope DC VOLTS = 5 V @ 50 Ω | (> 2 - 5) V | 20 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Oscilloscope DC VOLTS: 100 V @ 1 MΩ | (1 – 10) mV | 0.06 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Oscilloscope DC VOLTS: 100 V @ 1 MΩ | (> 10 – 100) mV | 0.11 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Oscilloscope DC VOLTS: 100 V @ 1 MΩ | (> 100 – 500) mV | 0.34 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Oscilloscope DC VOLTS: 100 V @ 1 MΩ | (> 0.5 – 1) V | 0.63 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Oscilloscope DC VOLTS: 100 V @ 1 MΩ | (> 1 – 10) V | 5.9 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Oscilloscope DC VOLTS: 100 V @ 1 MΩ | (> 10 - 100) V | 59 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Oscilloscope (Frequency leveled Sine wave, 9 mV to 5.5 V @ 50 Ω, 50 kHz) | (> 0.05 to 100) MHz | 0.76 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Oscilloscope (Frequency leveled Sine wave, 9 mV to 5.5 V @ 50 Ω, 50 kHz) | (> 100 to 300) MHz | 0.76 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Oscilloscope (Frequency leveled Sine wave, 9 mV to 5.5 V @ 50 Ω, 50 kHz) | (> 300 to 600) MHz | 0.50 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Oscilloscope (Frequency leveled Sine wave, 9 mV to 3.5 V @ 50 Ω) | (> 600 to 1100) MHz | 0.50 mV | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Oscilloscope (Frequency Bandwidth) | 50 kHz up to 1.1 GHz | 14 mHz | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Horizontal Deflection / Time Period | 2 ns to 5 s | 0.39 % rdg | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Oscilloscope - Rise Time | 0.35 ns to 0.7 ns | 0.09 ns | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Oscilloscope - Rise Time | 0.7 ns to 1.75 ns | 0.11 ns | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Oscilloscope - Rise Time | 1.75 ns to 3.5 ns | 0.15 ns | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Oscilloscope - Rise Time | 3.5 ns to 7.0 ns | 0.26 ns | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Insulation Tester | 100 kΩ | 0.11 kΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Insulation Tester | 500 kΩ | 0.08 kΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Insulation Tester | 1 MΩ | 0.06 kΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Insulation Tester | 10 MΩ | 0.13 MΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Insulation Tester | 100 MΩ | 1.4 MΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Insulation Tester | 1 GΩ | 0.06 GΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Insulation Tester | 100 kΩ to 1000 kΩ | 0.61 kΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Insulation Tester | 1 MΩ to 10 MΩ | 0.013 MΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Insulation Tester | 10 MΩ to 100 MΩ | 1.2 MΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Insulation Tester | 100 MΩ to 1000 MΩ | 13 MΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Insulation Tester | 1 GΩ to 10 GΩ | 0.13 GΩ | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Insulation Tester | 10 GΩ to 100 GΩ | 5.7 % rdg | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | RF Power - Source | 50 kHz to 80 MHz | - | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | RF Power - Source | -50 dBm to 20 dBm | 1.2 dBm | EYEng-Cal-Ele-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Measurement of time, velocity, acceleration, angular velocity |  | Timer, Stopwatch | 1 s up to 1 h | 0.60 s | EYEng-Cal-Ele-003 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (K type)-Source | (-200 to -100) °C | 0.41°C | EYEng-Cal-Ele-004 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (K type)-Source | (> -100 to 0) °C | 0.24 °C | EYEng-Cal-Ele-004 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (K type)-Source | (> 0 to 120) °C | 0.20 °C | EYEng-Cal-Ele-004 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (K type)-Source | (> 120 to 1370) °C | 0.48 °C | EYEng-Cal-Ele-004 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (J type)-Source | (-210 to -0) °C | 0.41°C | EYEng-Cal-Ele-004 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (J type)-Source | (> 0 to 400) °C | 0.24 °C | EYEng-Cal-Ele-004 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (J type)-Source | (> 400 to 1200) °C | 0.20 °C | EYEng-Cal-Ele-004 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (J type)-Source | (-200 to 0) °C | 0.60 °C | EYEng-Cal-Ele-004 | S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (J type)-Source | (> 0 to 1170) °C | 0.50 °C | EYEng-Cal-Ele-004 | S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (R type)-Source | (-40 to 0) °C | 3.5 °C | EYEng-Cal-Ele-004 | S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (R type)-Source | (> 0 to 600) °C | 1.2 °C | EYEng-Cal-Ele-004 | S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (R type)-Source | (> 600 to 1740) °C | 1.2 °C | EYEng-Cal-Ele-004 | S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (R type)-Source | (1 to 400) °C | 0.69 °C | EYEng-Cal-Ele-004 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (R type)-Source | (> 400 to 1760) °C | 0.51 °C | EYEng-Cal-Ele-004 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (S type)-Source | (-40 to 0) °C | 3.5 °C | EYEng-Cal-Ele-004 | S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (S type)-Source | (> 0 to 600) °C | 1.3 °C | EYEng-Cal-Ele-004 | S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (S type)-Source | (> 600 to 1730) °C | 1.2 °C | EYEng-Cal-Ele-004 | S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (S type)-Source | (1 to 400) °C | 0.57 °C | EYEng-Cal-Ele-004 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (S type)-Source | (> 400 to 1760) °C | 0.56 °C | EYEng-Cal-Ele-004 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (K type)-Source | (-200 to -100) °C | 0.60 °C | EYEng-Cal-Ele-004 | S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (K type)-Source | (> -100 to 0) °C | 0.59 °C | EYEng-Cal-Ele-004 | S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (K type)-Source | (> 0 to 300) °C | 0.50 °C | EYEng-Cal-Ele-004 | S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (K type)-Source | (> 300 to 900) °C | 0.59 °C | EYEng-Cal-Ele-004 | S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (K type)-Source | (> 900 to 1300) °C | 0.59 °C | EYEng-Cal-Ele-004 | S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (T type)-Source | (-200 to -100) °C | 1.2 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (T type)-Source | (> -100 to 0) °C | 1.2 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (T type)-Source | (> 0 to 100) °C | 0.37 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (T type)-Source | (> 100 to 200) °C | 0.37 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (T type)-Source | (> 200 to 390) °C | 0.36 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (E type)-Source | (-200 to 0) °C | 0.6 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (E type)-Source | (> 0 to 500) °C | 0.3 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (E type)-Source | (> 500 to 980) °C | 0.25 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (N type)-Source | (-200 to 0) °C | 1.2 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (N type)-Source | (> 0 to 1240) °C | 0.5 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (U type)-Source | (-100 to 590) °C | 0.72 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (B type) - Source | (250 to 900) °C | 4.9 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (B type) - Source | (900 to 1790) °C | 2.0 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (U type) - Source | (0 to 590) °C | 0.6 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (C type) - Source | (250 to 600) °C | 1.4 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (C type) - Source | (600 to 2250) °C | 2.2 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (D type) - Source | (200 to 900) °C | 1.2 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (D type) - Source | (900 to 1790) °C | 1.4 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (L type) - Source | (0 to 880) °C | 0.6 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (RTD Pt100)-Source | (-190 to -100) °C | 0.27 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (RTD Pt100)-Source | (> -100 to 0) °C | 0.27 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (RTD Pt100)-Source | (> 0 to 160) °C | 0.27 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (RTD Pt100)-Source | (> 160 to 500) °C | 0.47 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (RTD Pt100)-Source | (> 500 to 830) °C | 1.2 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (RTD Pt200)-Source | (-190 to 0) °C | 0.22 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (RTD Pt200)-Source | (> 0 to 830) °C | 0.95 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (RTD Pt500)--Source | (-190 to 0) °C | 0.4 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (RTD Pt500)--Source | (> 0 to 830) °C | 0.93 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (RTD Pt1000)-Source | (-190 to 0) °C | 0.4 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (RTD Pt1000)-Source | (> 0 to 390) °C | 0.53 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Current | 0 to 1 mA | 30 nA | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Current | (1 – 10) mA | 8.2 µA | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Current | (> 10 – 100) mA | 0.12 mA | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Current | (> 0.1 – 1) A | 5.8 mA | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Current | (> 1 – 3) A | 7.3 mA | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Current | (> 3 – 10) A | 61 mA | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Current | 10 to 60 A | 0.39 A | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (10 – 100) µA | 10 Hz to 5 kHz | 0.31 µA | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (10 – 100) µA | (5 to 10) kHz | 1.3 µA | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 0.1 – 1) mA | 10 Hz to 5 kHz | 2.0 µA | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 0.1 – 1) mA | (5 to 10) kHz | 6.0 µA | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 1 – 100) mA | 10 Hz to 5 kHz | 0.18 mA | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 1 – 100) mA | (5 to 10) kHz | 0.54 mA | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 100 – 400) mA | 10 Hz to 1 kHz | 0.95 mA | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 100 – 400) mA | (1 to 10) kHz | 4.2 mA | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 0.4 – 1) A | 10 Hz to 5 kHz | 2.2 mA | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (> 0.4 – 1) A | (5 to 10) kHz | 12 mA | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (>1 – 3) A | 10 Hz to 5 kHz | 9.0 mA | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (>1 – 3) A | (5 to 10) kHz | 37 mA | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (>3 – 10) A | 10 Hz to 5 kHz | 25 mA | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | AC Current (>3 – 10) A | (5 to 10) kHz | 0.12 A | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Voltage - Measure | 0 to 0.1 V | 2.8 µV | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Voltage | (0.1 – 1) V | 9.8 µV | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Voltage | (> 1 – 10) V | 0.09 mV | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Voltage | (> 10 – 100) V | 1.2 mV | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | DC Voltage | (>100 – 1000) V | 12 mV | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | High Voltage | 1 kV to 40 kV DC | 1.5 % rdg | EYEng-Cal-Ele-001 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (10 – 100) mV | (40 Hz to 1000) Hz | 11 µV | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (10 – 100) mV | (>1 to 20) kHz | 19 µV | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (10 – 100) mV | (>20 to 100) kHz | 95 µV | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (10 – 100) mV | (>100 to 300) kHz | 0.36 mV | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (> 0.1 – 1) V | (40 to 1000) Hz | 0.59 mV | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (> 0.1 – 1) V | (>1 to 20) kHz | 0.62 mV | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (> 0.1 – 1) V | (>20 to 50) kHz | 0.69 mV | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (> 0.1 – 1) V | (>50 to 100) kHz | 1.1 mV | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (> 0.1 – 1) V | (>100 to 300) kHz | 3.6 mV | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (> 0.1 – 1) V | (>300 to 500) kHz | 12 mV | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (> 1 – 10) V | (40 Hz to 1000) Hz | 1.4 mV | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (> 1 – 10) V | (>1 to 20) kHz | 2.0 mV | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (> 1 – 10) V | (>20 to 50) kHz | 3.8 mV | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (> 1 – 10) V | (>50 to 100) kHz | 9.5 mV | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (> 1 – 10) V | (>100 to 300) kHz | 36 mV | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (> 1 – 10) V | (>0.3 to 1) MHz | 0.12 V | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (> 10 – 100) V | (40 to 1000) Hz | 27 mV | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (> 10 – 100) V | (>1 to 20) kHz | 39 mV | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (> 10 – 100) V | (>20 to 50) kHz | 47 mV | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (> 10 – 100) V | (>50 to 100) kHz | 0.14 V | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (> 100 – 750) V | 40 Hz to 1 kHz | 0.49 V | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (> 100 – 750) V | (>1 to 20) kHz | 0.72 V | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (> 100 – 750) V | (>20 to 50) kHz | 1.4 V | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (> 100 – 750) V | (>50 to 100) kHz | 3.5 V | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Ac voltage (> 750 – 1000) V | 45 Hz | 3.5 V | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | High Voltage | 1 kV to 28 kV AC | 2.5 % rdg | EYEng-Cal-Ele-001 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | 0 to 10 Ω | 0.36 mΩ | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (> 10 – 100) Ω | 2.0 mΩ | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (> 0.1 – 1) kΩ | 13 mΩ | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (> 1 – 10) kΩ | 0.12 Ω | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (> 10 – 100) kΩ | 1.4 Ω | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (> 0.1 – 1) MΩ | 23 Ω | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (> 1 – 10) MΩ | 0.74 kΩ | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | (> 10 – 100) MΩ | 70 kΩ | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Resistance | 100 MΩ to 1 GΩ | 11 MΩ | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Capacitance | 10 pF to 50 pF | 4.1 % rdg | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Capacitance | 50 pF to 1 µF | 0.83 % rdg | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Capacitance | (1 – 10) nF | 0.17 nF | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Capacitance | (> 10 – 100) nF | 1.7 nF | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Capacitance | (> 0.1 – 1) µF | 0.02 µF | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Capacitance | (> 1 – 10) µF | 0.18 µF | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Capacitance | (> 10 – 100) µF | 1.8 µF | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Capacitance | (> 0.1 – 1) mF | 0.02 mF | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Capacitance | (> 1 – 10) mF | 0.18 mF | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Capacitance | (> 10 – 100) mF | 4.9 mF | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Inductance - Measure | 100 µH to 10 H | 0.46 % rdg | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Frequency | (1 to 40) Hz | 0.02 mHz/Hz | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Frequency | >40 Hz to 10 MHz | 0.12 mHz/Hz | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Frequency | 10 MHz to 350 MHz | 1.5 kHz | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | RF Power - Measure | 10 MHz to 18 GHz | - | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | RF Power - Measure | -70 dBm to 20 dBm | 4.8 % rdg | EYEng-Cal-Ele-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (K type)- Measure | (-200 to -100) °C | 0.60 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (K type)- Measure | (> -100 to 0) °C | 0.59 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (K type)- Measure | (> 0 to 300) °C | 0.36 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (K type)- Measure | (> 300 to 900) °C | 0.59 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (K type)- Measure | (> 900 to 1300) °C | 0.59 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (J type)- Measure | (-200 to 1170) °C | 0.6°C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (T type)- Measure | (-200 to -100) °C | 1.2 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (T type)- Measure | (> -100 to 0) °C | 1.2 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (T type)- Measure | (> 0 to 100) °C | 0.36 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (T type)- Measure | (> 100 to 200) °C | 0.36 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (T type)- Measure | (> 200 to 390) °C | 0.36 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (R type)- Measure | (-40 to 0) °C | 3.5 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (R type)- Measure | (> 0 to 600) °C | 1.2 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (R type)- Measure | (> 600 to 1740) °C | 1.2 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (S type)- Measure | (-40 to 0) °C | 3.5 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (S type)- Measure | (> 0 to 600) °C | 1.3 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (S type)- Measure | (> 600 to 1730) °C | 1.2 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (E type)- Measure | (-200 to 0) °C | 0.59 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (E type)- Measure | (> 0 to 500) °C | 0.3 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (E type)- Measure | (> 500 to 980) °C | 0.3 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (N type)- Measure | (-200 to 0) °C | 1.2 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (N type)- Measure | (> 0 to 1240) °C | 0.48 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (U type)- Measure | (-100 to 590) °C | 0.7 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (B type) - Measure | (250 to 900) °C | 4.9 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (B type) - Measure | (900 to 1790) °C | 2.0 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (U type) - Measure | (0 to 590) °C | 0.6 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (C type) - Measure | (250 to 600) °C | 1.2 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (C type) - Measure | (600 to 2250) °C | 1.9 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (D type) - Measure | (200 to 1790) °C | 1.2 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (L type) - Measure | (0 to 880) °C | 0.54 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (RTD Pt100)- Measure | (-190 to -100) °C | 0.18 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (RTD Pt100)- Measure | (> -100 to 0) °C | 0.18 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (RTD Pt100)- Measure | (> 0 to 160) °C | 0.18 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (RTD Pt100)- Measure | (> 160 to 500) °C | 0.3 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (RTD Pt100)- Measure | (> 500 to 830) °C | 0.92 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (RTD Pt200)- Measure | (-190 to 0) °C | 0.14 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (RTD Pt200)- Measure | (> 0 to 830) °C | 0.58 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (RTD Pt500)- Measure | (-190 to 0) °C | 0.25 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (RTD Pt500)- Measure | (> 0 to 830) °C | 0.36 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (RTD Pt1000)- Measure | (-190 to 0) °C | 0.18 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Electricity. Magnetism. Electrical and magnetic measurements |  | Temperature Simulation (RTD Pt1000)- Measure | (> 0 to 390) °C | 0.21 °C | EYEng-Cal-Ele-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Thermodynamics and temperature measurements |  | Thermo Hygrometer (Relative Humidity) | 20 % RH to 70 % RH | 1 % RH | EYEng-Cal-Tmp-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Thermodynamics and temperature measurements |  | Thermo Hygrometer (Temperature) | (15 – 60) °C | 0.3 °C | EYEng-Cal-Tmp-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Thermodynamics and temperature measurements |  | Air Temperature Sensors | (15 to 60) °C | 0.3 °C | EYEng-Cal-Tmp-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Thermodynamics and temperature measurements |  | Thermometers, Thermo couples, Temperature Transmitter, Temperature Sensors | (-40 to 0) °C | 0.07 °C | EYEng-Cal-Tmp-003 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Thermodynamics and temperature measurements |  | Thermometers, Thermo couples, Temperature Transmitter, Temperature Sensors | (> 0 to 155) °C | 0.07 °C | EYEng-Cal-Tmp-003 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Thermodynamics and temperature measurements |  | Thermometers, Thermo couples, Temperature Transmitter, Temperature Sensors | (> 155 to 400) °C | 0.21 °C | EYEng-Cal-Tmp-003 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Thermodynamics and temperature measurements |  | Thermometers, Thermo couples, Temperature Transmitter, Temperature Sensors | (> 400 to 660) °C | 0.29 °C | EYEng-Cal-Tmp-003 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Thermodynamics and temperature measurements |  | Infrared Thermometer | (35 to 300) °C | 1 % rdg | EYEng-Cal-Tmp-005 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Thermodynamics and temperature measurements |  | Climate Chamber (e.g. Chiller, Freezer, Incubator, oven, Furnace, Hot Cabinet, Hot Box..etc) (1, 5 or 9 Point Calibration) | (-80 to 650) °C | 1.2 °C | EYEng-Cal-Tmp-006 | S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Thermodynamics and temperature measurements |  | Dry Block Temperature Calibrator and Temperature Liquid Bath | -40 Deg C to 150 Deg C | 0.2 Deg C | EYEng-Cal-Tmp-004 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Thermodynamics and temperature measurements |  | Dry Block Temperature Calibrator and Temperature Liquid Bath | 150 Deg C to 650 Deg C | 0.5 Deg C | EYEng-Cal-Tmp-005 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Thermodynamics and temperature measurements |  | Dry Block Temperature Calibrator and Temperature Liquid Bath | 650 Deg C to 900 Deg C | 1.0 Deg C | EYEng-Cal-Tmp-006 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Thermodynamics and temperature measurements |  | Soldering Station Temperature - Measure | 0 to 300 °C | ± 5.9 °C | EYEng-Cal-Tmp-009 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Thermodynamics and temperature measurements |  | Soldering Station Temperature - Measure | 300 to 600 °C | ± 4.0 °C | EYEng-Cal-Tmp-009 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Thermodynamics and temperature measurements |  | Soldering Station Temperature - Measure | 600 to 700 °C | ± 6.1 °C | EYEng-Cal-Tmp-009 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Calipers | (0.5 – 600) mm | 31 µm | EYEng-Cal-Dim-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Calipers | (>600 – 1000) mm | 40 µm | EYEng-Cal-Dim-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Calipers | (>1000 – 1500) mm | 50 µm | EYEng-Cal-Dim-002 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | External Micrometer | (0.5 – 25) mm | 2.5 µm | EYEng-Cal-Dim-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | External Micrometer | (>25 – 50) mm | 3 µm | EYEng-Cal-Dim-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | External Micrometer | (>50 – 75) mm | 3.5 µm | EYEng-Cal-Dim-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | External Micrometer | (>75 – 100) mm | 4 µm | EYEng-Cal-Dim-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | External Micrometer | (>100 – 500) mm | 10 µm | EYEng-Cal-Dim-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | External Micrometer | (> 0.5 – 1) m | 20 µm | EYEng-Cal-Dim-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | External Micrometer | (>1 – 1.5) m | 27 µm | EYEng-Cal-Dim-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Dial Test Indicator, Dial Gauge | (0.01 - 60) mm | 3 µm | EYEng-Cal-Dim-003 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Dial Test Indicator, Dial Gauge (Lever type) | (0.01 - 3) mm | 2 µm | EYEng-Cal-Dim-004 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Height Gauge | (0.01 - 1000) mm | 7 µm | EYEng-Cal-Dim-006 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Depth micrometer, Depth Gauge | (0.01 - 650) mm | 8 µm | EYEng-Cal-Dim-005 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Ring Gauge | (1 to 50) mm | 3 µm | EYEng-Cal-Dim-007 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Ring Gauge | (> 50 to 225) mm | 6 µm | EYEng-Cal-Dim-007 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Plug /pin gauges | (0.1 - 50) mm | 1.5 µm | EYEng-Cal-Dim-007 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Setting rod Standards | (12 – 1250) mm | 10 µm | EYEng-Cal-Dim-008 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Tubular internal micrometer | (12 – 1250) mm | 19 µm | EYEng-Cal-Dim-009 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Bore / holtest micrometer | (1 – 225) mm | 4 µm | EYEng-Cal-Dim-011 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Feeler Gauges | (0.035 to 2.5) mm | (2 to 14) µm | EYEng-Cal-Dim-010 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Coating Thickness Gauge | Up to 1000 μm | 2.5 μm | EYEng-Cal-Dim-013 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Ultrasonic Thickness Gauge | 0 mm to 500 mm | 4.0 μm | EYEng-Cal-Dim-013 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Thickness Gauge(dial and digital) | (0.001 to 50) mm | 0.009 mm | EYEng-Cal-Dim-013 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Crimping Tool & Die Set | Go/No-Go Test : Upto 25 mm/1 inch | 0.005 mm / 0.0002 inch | EYEng-Cal-Dim-012 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Crimping Tool & Die Set | Crimp Height & Chamber Dimension : Upto 25 mm/1 inch | 0.005 mm / 0.00025 inch | EYEng-Cal-Dim-012 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Crimping Tool & Die Set | Pullout Test : 150 lb | 0.3 lb | EYEng-Cal-Dim-012 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Granite Surface Plate | (0.6 × 0.3) m to (3 × 1.5) m | 19 μm | EYEng-Cal-Dim-014 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Graduated Steel Ruler | (0.001 to 3) m | 0.066 mm | EYEng-Cal-Dim-016 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Graduated Measuring Tape | (0.001 to 100) m | 0.04 % rdg | EYEng-Cal-Dim-016 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | Protractors, | 0.1° to 180° | 0.41° | EYEng-Cal-Dim-015 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | angle gauges, | 0.1° to 180° | 0.41° | EYEng-Cal-Dim-015 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Linear and angular measurements |  | angle measurement | 0.1° to 180° | 0.41° | EYEng-Cal-Dim-015 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Measurement of force, weight and pressure |  | Load cells, Force measuring devices / machines,Push and Pull gauge - Compression load | 4.44 N to 333 kN | 0.1 % rdg | EYEng-CAL-For-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Measurement of force, weight and pressure |  | Load cells, Force measuring devices / machines,Push and Pull gauge - Tension load | 4.44 N to 267 kN | 0.3 % rdg | EYEng-CAL-For-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Measurement of force, weight and pressure |  | Cable Tensiometer | (6.78 to 1360) N | 1 % rdg | EYEng-Cal-Tor-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Measurement of force, weight and pressure |  | Torque wrench & Torque multiplier | (0.14 to 2711) N.m | 1 % rdg | EYEng-Cal-Tor-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Measurement of force, weight and pressure |  | Torque Transducers (Clockwise & Counter Clockwise) | (0.14 to 2711) N.m | 0.4 % rdg | EYEng-Cal-Tor-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Measurement of force, weight and pressure |  | Torque tester | (0.1 to 3000) N.m | 0.5 % rdg | EYEng-Cal-Tor-001 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Measurement of volume, mass, density, viscosity |  | Weighing Balance (Nonautomatic) | 1 mg to 500 kg | 0.15% rdg | EYEng-Cal-Tor-002 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Measurement of force, weight and pressure |  | Pressure gauges,transducers,pressure switches | (-94.2 to 0) kPa | 0.08 kPa | EYEng-Cal-Pre-001 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Measurement of force, weight and pressure |  | Pressure gauges,transducers,pressure switches | 0.1 kPa to 70 kPa | 0.08 kPa | EYEng-Cal-Pre-001 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Measurement of force, weight and pressure |  | Pressure gauges,transducers,pressure switches | >70 kPa to 2 MPa | 1.4 kPa | EYEng-Cal-Pre-001 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Measurement of force, weight and pressure |  | Pressure gauges,transducers,pressure switches | (>2 to 21) MPa | 3.0 kPa | EYEng-Cal-Pre-001 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Measurement of force, weight and pressure |  | Pressure gauges,transducers,pressure switches | (>21 to 42) MPa | 5.8 kPa | EYEng-Cal-Pre-001 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Measurement of force, weight and pressure |  | Pressure gauges,transducers,pressure switches | 10 kPa to 35 MPa | 5.8 kPa | EYEng-Cal-Pre-001 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Measurement of force, weight and pressure |  | Pressure gauges,transducers,pressure switches | (>35 to 140) MPa | 18 kPa | EYEng-Cal-Pre-001 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Acoustics and acoustic measurements |  | Sound Level Meter | 94 dB and 114 dB | 0.65 dB | EYEng-Cal-Ele-005 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Others | SPEED | Non-Contact Tachometer | Up to 60000 rpm | 1.2 rpm | EYEng-Cal-Ele-005 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Others | PH MEASUREMENT | pH Meter | (4, 7, 10) pH @ 25 Deg C | 0.08 pH | EYEng-Cal-Tmp-008 | P | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Others | Flow Measurement | Gas Flow Rate | 1 mL/min to 20 mL/min | ± 1% of Reading | EYEng-Cal-Flw-001 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Others | Flow Measurement | Gas Flow Rate | 0.14 L/min to 0.5 L/min | ± 1% of Reading | EYEng-Cal-Flw-001 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Others | Flow Measurement | Gas Flow Rate | 0.5 L/min to 2.0 L/min | ± 1% of Reading | EYEng-Cal-Flw-001 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Others | Flow Measurement | Gas Flow Rate | 2.0 L/min to 5.0 L/min | ± 1% of Reading | EYEng-Cal-Flw-001 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Others | Flow Measurement | Gas Flow Rate | 5.0 L/min to 35.0 L/min | ± 1% of Reading | EYEng-Cal-Flw-001 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Others | Flow Measurement | Gas Flow Rate | 35.0 L/min to 280.0 L/min | ± 1% of Reading | EYEng-Cal-Flw-001 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Others | Flow Measurement | Gas Flow Rate | 280.0 L/min to 700.0 L/min | ± 1% of Reading | EYEng-Cal-Flw-001 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Others | Flow Measurement | Gas Flow Rate | 700 L/min to 1000.0 L/min | ± 1% of Reading | EYEng-Cal-Flw-001 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Others | Flow Measurement | Liquid Flow Rate | 1 L/min to 1.5 L/min | ± 1.7 % of Reading | EYEng-Cal-Flw-001 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Others | Flow Measurement | Liquid Flow Rate | 1.5 L/min to 38.0 L/min | ± 1.7 % of Reading | EYEng-Cal-Flw-001 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates
Others | Flow Measurement | Liquid Flow Rate | 38.0 L/min to 220.0 L/min | ± 1.7 % of Reading | EYEng-Cal-Flw-001 | P/S | EYEng CAL LAB, Abu Dhabi, United Arab Emirates

## Sheet2
Measurand | Measuring Range | CMC | Calibration Method | Permanent lab
DC Voltage | 1 kV to 25 kV | 0.61 kV | EYEng-Cal-Ele-002 | P
AC Voltage (1 kV to 10 kV) | 50 Hz | 0.25 kV | EYEng-Cal-Ele-002 | P
Temperature Simulation (B type) - Source | (250 to 900) °C | 4.9 °C | EYEng-Cal-Ele-004 | P/S
Temperature Simulation (B type) - Source | (900 to 1790) °C | 2.0 °C | EYEng-Cal-Ele-004 | P/S
Temperature Simulation (U type) - Source | (0 to 590) °C | 0.6 °C | EYEng-Cal-Ele-004 | P/S
Temperature Simulation (C type) - Source | (250 to 600) °C | 1.4 °C | EYEng-Cal-Ele-004 | P/S
Temperature Simulation (C type) - Source | (600 to 2250) °C | 2.2 °C | EYEng-Cal-Ele-004 | P/S
Temperature Simulation (D type) - Source | (200 to 900) °C | 1.2 °C | EYEng-Cal-Ele-004 | P/S
Temperature Simulation (D type) - Source | (900 to 1790) °C | 1.4 °C | EYEng-Cal-Ele-004 | P/S
Temperature Simulation (L type) - Source | (0 to 880) °C | 0.6 °C | EYEng-Cal-Ele-004 | P/S
Temperature Simulation (B type) - Measure | (250 to 900) °C | 4.9 °C | EYEng-Cal-Ele-004 | P/S
Temperature Simulation (B type) - Measure | (900 to 1790) °C | 2.0 °C | EYEng-Cal-Ele-004 | P/S
Temperature Simulation (U type) - Measure | (0 to 590) °C | 0.6 °C | EYEng-Cal-Ele-004 | P/S
Temperature Simulation (C type) - Measure | (250 to 600) °C | 1.2 °C | EYEng-Cal-Ele-004 | P/S
Temperature Simulation (C type) - Measure | (600 to 2250) °C | 1.9 °C | EYEng-Cal-Ele-004 | P/S
Temperature Simulation (D type) - Measure | (200 to 1790) °C | 1.2 °C | EYEng-Cal-Ele-004 | P/S
Temperature Simulation (L type) - Measure | (0 to 880) °C | 0.54 °C | EYEng-Cal-Ele-004 | P/S
Climate Chamber (e.g. Chiller, Freezer, Incubator, oven, Furnace, Hot Cabinet, Hot Box..etc) (1, 5 or 9 Point Calibration) | (-80 to 650) °C | 1.2 °C | EYEng-Cal-Tmp-006 | S
Feeler Gauges | (0.035 to 2.5) mm | (2 to 14) µm | EYEng-Cal-Dim-010 | P
Torque wrench & Torque multiplier | (0.14 to 2711) N.m | 1 % rdg | EYEng-Cal-Tor-001 | P
Torque Transducers (Clockwise & Counter Clockwise) | (0.14 to 2711) N.m | 0.4 % rdg | EYEng-Cal-Tor-001 | P
Weighing Balance (Nonautomatic) | 1 mg to 500 kg | 1 % rdg | EYEng-Cal-Tor-002 | P/S